| Product | Kingspan Kooltherm® K3 Floorboard |
| --- | --- |
| Application | Concrete Floor – Slab on Ground |
| Project |  |
| Architect |  |
| Issue Date |  |

# GENERAL

## Scope of Work – Insulation

Concrete Floor – Slab on Ground

______ mm thick Kingspan Kooltherm® K3 Floorboard installed between a damp proof coarse and separation layer below the floor slab to achieve a total thermal resistance of RT______  heat flow in and RT______  heat flow out (TPC Reference No.: ________).

## Company Contacts – Insulation

Kingspan Insulation technical contacts

Email: technical@kingspaninsulation.com.au

Telephone: 1300 247 235

Web: www.kingspaninsulation.com.au/Contact-Us/Enquiry

## Manufacturer’s Documents – Insulation

Application & Installation guides, Product brochures, CAD drawings and Certificates & Warranties: www.kingspan.com/au/insulation/downloads.

## Interpretation – Insulation

Definitions

General: For the purposes of this work section the following definitions apply:

- Fire hazard properties: Terminology to NCC A2.4.

- Thermal insulation terminology: To AS/NZS 4859.1.

- Masonry structures terminology: To AS 3700.

## Inspection – Insulation

Notice

Inspection: Give notice to Kingspan Insulation so that inspection may be made of the insulation before it is covered up or concealed.

## Submissions – Insulation

Certification

Certification: CodeMark certificate to be submitted as evidence of compliance with the NCC.

Warranty

Warranty: A Project Specific Warranty provided by Kingspan Insulation must be submitted subsequent to a satisfactory site inspection.

To register your specification for your Project Specific Warranty enter the details here www.kingspaninsulation.com.au/PSW

# MATERIALS

## Product substitution

Other insulation: Conform to Submissions – Insulation, Substitutions in the General requirements work section.

Use of expanded polystyrene (EPS), extruded polystyrene (XPS), rigid foam polyurethane (PU), glasswool, rockwool and / or polyisocyanurate (PIR) insulation other than those specified are not acceptable unless formally accepted by the relevant fire authorities and the  building owners insurance underwriters.

## Marking – Insulation

Identification

General: Deliver materials to the site in the Kingspan original sealed packaging, legibly marked to show the following:

- Manufacturer’s identification.

- Product brand name.

- Product type.

- Quantity.

- Product reference code and batch number.

- Date of manufacture.

## Kingspan Insulation Product – Insulation

Kingspan Kooltherm® K3 Floor Board

Description: Under slab insulation board comprising a rigid thermoset phenolic insulation core, sandwiched between an upper & lower tissue-based facing, autohesively bonded to the insulation core during manufacture.

- Thickness: _____ mm

- R-value: R_______

- Board size: 2400 mm x 1200mm

Fire hazard properties

Insulation: When tested to AS 1530.3, Kingspan Kooltherm® K3 Floor Board achieves the following results:

- Ignitability:		0

- Flame spread:		0

- Heat evolved:		0

- Smoke development:	0-1

The insulation shall have a tested smoke obscuration of not more than 100 m2/kg.

Insulation standard

Insulation: Kingspan Kooltherm® K3 Floor Board complies with AS/NZS 4859.1.

Management standards

Insulation: Kingspan Kooltherm® K3 Floor Board is manufactured under a management system certified to:

- BS/IS EN ISO 9001:2008		Quality Management

- BS/IS EN ISO 14001:2004 	Environmental Management

- BS/IS OHSAS ISO 18001:2007 	Health and Safety Management

# EXECUTION

## Installing Below Floor Slab On Ground

Application

Location: Between the damp proof coarse and recommended separation layer under the concrete slab.

Laying

The site should be prepared and foundations, where appropriate, built to damp proof course (DPC) level.

A thin sand blinding may be used to achieve a continuous level surface free from projections over rolled aggregate.

The damp proof membrane (minimum 300 micron / 1200 gauge polythene) should be laid with joints well lapped and folded, to prevent the passage of ground water, over well compacted aggregate, prior to laying Kingspan Kooltherm® K3 Floorboard.

The membrane should be brought up the surrounding foundation walls/slab until it is sufficiently above the height of the wall DPC so that it will connect with or form the DPC.

Kingspan Kooltherm® K3 Floorboard should not be placed under any direct point loads or foundations including slab thickening.

The insulation boards should always be loose–laid break– bonded, with joints lightly butted.

If two layers of Kingspan Kooltherm® K3 Floorboard are required, they should be horizontally offset relative to each other so that, as far as possible, the board joints in the two adjacent layers do not coincide with each other. To avoid glare, lay with the foil face facing down.

Insulation boards should be overlaid with a polythene sheet (not less than 125 micron / 500 gauge) as best practice, to prevent the wet concrete penetrating the joints between the boards, and to act as a vapour control layer. Ensure the polythene sheet has 150 mm overlaps, taped at the joints.

The subsequent installation of the concrete slab and screed or other flooring material is carried out in a manner similar to that for an un–insulated floor. The concrete slab and screed should be allowed to dry out prior to the installation of the floor finish.

Cutting

General: Cutting should be carried out either by using a fine toothed saw, or by scoring with a sharp knife, snapping the board over a straight edge and then cutting the facing on the other side. Ensure accurate trimming to achieve close-butting joints and continuity of insulation.

## Completion – Insulation

Warranties

Warranty: A Project Specific Warranty provided by Kingspan Insulation must be submitted subsequent to a satisfactory site inspection.